## Slide 1
System Diagram

## Slide 2
Features
Based on HA1.2 standard protocol
Built-in ZigBee 2.4G wireless transceiver module
Supports large number of 2,500 devices connection
Single color (SC) and change color temp.(CCT) are
optional.
Communication distance is more than 30 meters
The parameter could be set by application.
Light brightness would be adjusted according to your
setting.
P65 waterproof
Support Over-the-Air upgrade

## Slide 3
SDS715-XX-WP-OTA |  | 
Parameter | SDS715-SC-WP-OTA | SDS715-CT-WP-OTA
Input Voltage | AC 100-277Vac 50/60Hz | 
Wireless Frequency | 2.4GHz | 
Control Distance | 20-30m | 
Operation Temperature | -40°C to 85°C | 
Lux Detection Range | 0-65528lux | 
Detection Accuracy | ±10lux | 
Parameter

## Slide 4
Installation
For installation details, please contact us for spec. for your ref.